## Energy Eco 7Kw
VB Klimaattechniek bv
Noise Testing Report Energy Eco 7Kw
Testing Unit |  | Energy Eco 7Kw
Schematic Diagram
Power Supply |  | 220V/50Hz
Background Noise |  | /
AT ℃ |  | /
No. | Compressor Frequency/HZ | RPM | Noise dB(A) | No. | Compressor Frequency/HZ | RPM | Noise dB(A)
1 | 70 | 700 | 46 | 16
7 | 40 | 700 | 44.5 | 17
8 | 35 | 700 | 44.3 | 18
9 | 30 | 700 | 44.3 | 19
10 | 25 | 700 | 43.5 | 20
11 | 20 | 700 | 45.5 | 21
12 |  |  |  | 22
13 |  |  |  | 23
14 |  |  |  | 24
15 |  |  |  | 25
26
27
28
29
Graphic model
Top View
Electric Box
Graphic model
Top View
Electric Box
Graphic model
Top View
Electric Box

## Energy Eco 9Kw
VB Klimaattechniek bv
Noise Testing Report Energy Eco 9Kw
Testing Unit |  | Energy Eco 9Kw
Schematic Diagram
Power Supply |  | 220V/50Hz
Background Noise |  | /
AT ℃ |  | /
No. | Compressor Frequency/HZ | RPM | Noise dB(A) | No. | Compressor Frequency/HZ | RPM | Noise dB(A)
1 | 80 | 700 | 50.7 | 16
2 | 75 | 700 | 49.5 | 17
3 | 70 | 700 | 48.5 | 18
4 | 65 | 700 | 50.2 | 19
5 | 60 | 700 | 51.8 | 20
6 | 55 | 700 | 48.5 | 21
7 | 50 | 700 | 48.4 | 22
8 | 45 | 700 | 45 | 23
9 | 40 | 700 | 44.1 | 24
10 | 35 | 700 | 43.5 | 25
11 | 30 | 700 | 46.3 | 26
12 | 25 | 700 | 43.6 | 27
13 | 20 | 700 | 45.7 | 28
14 |  |  |  | 29
15
Graphic model
Top View
Electric Box
Graphic model
Top View
Electric Box
Graphic model
Top View
Electric Box

## Energy Eco 11Kw
VB Klimaattechniek bv
Noise Testing Report Energy Eco 11Kw
Testing Unit |  | Energy Eco 11Kw
Schematic Diagram
Power Supply |  | 220V/50Hz
Background Noise |  | /
AT ℃ |  | /
No. | Compressor Frequency/HZ | RPM | Noise dB(A) | No. | Compressor Frequency/HZ | RPM | Noise dB(A)
1 | 90 | 800 | 50.3 | 16
2 | 85 | 800 | 49.2 | 17
3 | 80 | 800 | 48.3 | 18
4 | 75 | 800 | 47.4 | 19
5 | 70 | 800 | 49.1 | 20
6 | 65 | 800 | 48.4 | 21
7 | 60 | 800 | 49.5 | 22
8 | 55 | 800 | 48.1 | 23
9 | 50 | 800 | 44.6 | 24
10 | 45 | 800 | 43.9 | 25
11 | 40 | 800 | 43.3 | 26
12 | 35 | 800 | 43 | 27
13 | 30 | 800 | 43.7 | 28
14 | 25 | 800 | 42.2 | 29
15 | 20 | 800 | 46.1
Graphic model
Top View
Electric Box
Graphic model
Top View
Electric Box
Graphic model
Top View
Electric Box

## Energy Eco 16Kw
VB Klimaattechniek bv
Noise Testing Report Energy Eco 16Kw
Testing Unit |  | Energy Eco 16Kw
Schematic Diagram
Power Supply |  | 220V/50Hz
Background Noise |  | /
AT ℃ |  | /
No. | Compressor Frequency/HZ | RPM | Noise dB(A) | No. | Compressor Frequency/HZ | RPM | Noise dB(A)
1 | 90 | 800 | 52.4 | 16
2 | 85 | 800 | 50.3 | 17
3 | 80 | 800 | 50.4 | 18
4 | 75 | 800 | 50.2 | 19
5 | 70 | 800 | 50.7 | 20
6 | 65 | 800 | 48.5 | 21
7 | 60 | 800 | 47.7 | 22
8 | 55 | 800 | 45.9 | 23
9 | 50 | 800 | 46.1 | 24
10 | 45 | 800 | 46.3 | 25
11 | 40 | 800 | 45.1 | 26
12 | 35 | 800 | 44.7 | 27
13 | 30 | 800 | 44 | 28
14 | 25 | 800 | 43.9 | 29
15 | 20 | 800 | 43.7
Graphic model
Top View
Electric Box
Graphic model
Top View
Electric Box
Graphic model
Top View
Electric Box